OT ASSET INVENTORY (IEC 62443 / PURDUE)

| Field | Details |
| --- | --- |
| Document ID | [ORG]-OT-INV-001 |
| Version | 1.0 |
| Owner | OT Security Lead |
| Approved By | CISO |
| Effective Date |  |
| Review Cycle | Quarterly (or on change) |
| Next Review Date |  |
| Classification | Internal |

Purpose: Asset inventory for operational technology (OT), organized by

Purdue model level and IEC 62443 zone/conduit. It is the baseline for

patch management (IEC 62443-2-1), vulnerability management, zoning

(IEC 62443-3-2), and OT risk assessment. Maintained by the OT security

team; verified against the network by asset discovery tool:                              .

1. ASSET REGISTER

| Asset ID | Device Type | Manufacturer / Model | Firmware Version | Purdue Level | Zone | Conduit | Function | Criticality | Patch Status | EOL / EOS | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [OT-XXX] | PLC |  |  | [L0-L4] | [Zone 01] | [C-01] |  | Critical | SP1 |  |  |
| [OT-XXX] |  |  |  |  |  |  |  |  |  |  |  |

2. ZONE AND CONDUIT CONVENTIONS

| Purdue Level | Description | Typical Assets |
| --- | --- | --- |
| L0 | Process | Sensors, actuators, field devices |
| L1 | Basic Control | PLCs, RTUs, DCS controllers |
| L2 | Area Supervisory | HMIs, SCADA servers |
| L3 | Site Operations | Historians, asset management |
| L3.5 | Industrial DMZ | Jump hosts, proxies, patching servers |
| L4 | Enterprise | ERP, business systems |

Zones group assets with shared security requirements; conduits are the

communication paths between zones. Every asset is assigned one zone and

one or more conduits in accordance with IEC 62443-3-2.

3. ASSET ID CONVENTION

| Prefix | Device Type |
| --- | --- |
| [PLC-] | [Programmable Logic Controller] |
| [HMI-] | [Human-Machine Interface] |
| [RTU-] | [Remote Terminal Unit] |
| [SRV-] | Server |
| [NET-] | [Network device] |

4. PATCH AND SUPPORT STATUS CONVENTIONS

| Status | Meaning |
| --- | --- |
| SP1 | Critical / internet-facing — patch immediately |
| SP2 | High risk — patch within days |
| SP3 | Medium risk — patch within days |
| SP4 | Low risk — patch within days |
| EOL | End-of-life — mitigation in place: |

How to use this template: One row per asset, including virtualized

and network infrastructure. Confirm firmware and patch status at each

maintenance window. Assets at EOL/EOS require a documented mitigation or

replacement plan before the next risk assessment.

APPROVAL

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| OT Security Lead |  |  |  |
| Plant / Operations Manager |  |  |  |
| CISO |  |  |  |

DOCUMENT CONTROL

| Version | Date | Author | Change Description |
| --- | --- | --- | --- |
| 0.1 |  |  | Initial draft |
| 1.0 |  |  | Approved for release |

*Template from "The Governance, Risk and Compliance Architect" (Hendriksen, 2026). Adapt to your organization's context before use.*