OT SECURITY READINESS CHECKLIST

| Field | Details |
| --- | --- |
| Document ID | [ORG]-OT-CHK-001 |
| Version | 1.0 |
| Owner | [OT Security Lead] |
| Approved By | CISO |
| Effective Date |  |
| Review Cycle | Annual (and after major OT changes) |
| Next Review Date |  |
| Classification | Internal |

Purpose: Self-assessment of OT security readiness, aligned to IEC 62443

and the Purdue model. Completed by the OT security lead with plant

operations, reviewed with the CISO. "No" answers become inputs to the

OT remediation plan.

1. ASSET INVENTORY

[ ] Complete OT asset inventory exists (hardware, firmware, network)

[ ] Inventory records firmware versions, patch status, and EOL/EOS dates

[ ] Inventory is verified against the live network quarterly

2. ZONING AND SEGMENTATION (PURDUE MODEL)

[ ] All assets assigned to zones and conduits per IEC 62443-3-2

[ ] Zone boundaries enforced by firewalls / ACLs:

[ ] No direct L0-L2 to L4/L5 connections without crossing the DMZ

3. INDUSTRIAL DMZ (IT/OT SEGMENTATION)

[ ] All IT/OT traffic flows through an industrial DMZ (L3.5)

[ ] No direct IT-to-OT or OT-to-IT connections exist

[ ] DMZ devices are hardened, monitored, and patched

4. REMOTE ACCESS

[ ] Remote access requires MFA (e.g.,                              )

[ ] Remote access is jump-host based through the DMZ, not direct to assets

[ ] Remote sessions are logged, monitored, and time-limited

5. PATCH MANAGEMENT

[ ] Risk-based OT patch policy approved (IEC 62443-2-1)

[ ] Security Patch Remediation Status (SP1-SP4) assigned per asset

[ ] Vendor-approved patching windows defined and tested

6. INCIDENT RESPONSE

[ ] OT-specific incident response playbook exists and is tested

[ ] IR team trained on OT protocols and safety constraints

[ ] OT logs (SCADA, controllers, DMZ) flow to a central SIEM

7. SAFETY INTEGRATION

[ ] Safety Instrumented Systems (SIS) identified and segregated

[ ] Change management assesses safety impact of every change

[ ] Safety functions remain operable during cybersecurity incidents

8. IEC 62443 ASSESSMENT STATUS

[ ] Target Security Level (SL) defined per zone

[ ] Gap assessment performed (IEC 62443-3-2 / -2-1)

[ ] Remediation plan approved, funded, and tracked

How to use this template: Mark each item Yes in

. Score =                               of                               complete. Unchecked items feed the

OT remediation plan with owners and target dates; revisit at least

annually and after any zoning or architecture change.

APPROVAL

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| OT Security Lead |  |  |  |
| Plant / Operations Manager |  |  |  |
| CISO |  |  |  |

DOCUMENT CONTROL

| Version | Date | Author | Change Description |
| --- | --- | --- | --- |
| 0.1 |  |  | Initial draft |
| 1.0 |  |  | Approved for release |

*Template from "The Governance, Risk and Compliance Architect" (Hendriksen, 2026). Adapt to your organization's context before use.*